DO31 MAA

Fire door testing: 						(1 page)

This record sheet records the six-monthly testing of fire doors in the Museum.

Test procedure:

- Follow the examination procedure described by the Fire Safety Department

at: https://www.em.admin.cam.ac.uk/system/files/firedoorchecksguidance_0.pdf

Address the issue as identified or, if necessary, report faults to EM Helpdesk at efhelpdesk@admin.cam.ac.uk, CC to dir21@cam.ac.uk.

| Date | Id | Location | Result | Initials |
| --- | --- | --- | --- | --- |
|  |  | Workshop |  | F.G. |
|  |  | Ground Floor: W.B. → Main Entrance, Archaeology Building |  | F.G. |
|  |  | Ground Floor: W.B. → MAA Entrance lobby |  | F.G. |
|  |  | Ground Floor: W.B. Lobby → MAA |  | F.G. |
|  |  | Ground Floor Traka room → Keyser corridor |  | F.G. |
|  |  | Ground Floor Corridor → Stairs lobby |  | F.G. |
|  |  | 1st Floor lobby → Babington corridor |  | F.G. |
|  |  | 2nd Floor Mezz. Conservation Laboratory |  | F.G. |
|  |  | 2nd Floor Mezz. Staff Space |  | F.G. |
|  |  | 3rd Floor Mezz. Plant Room |  | F.G. |
|  |  | 3rd Floor Mezz. Store cupboard |  | F.G. |
|  |  | Photo Archive |  | F.G. |