DO31 MAA

Emergency lighting testing: 							(2 pages)

To be completed: Monthly

Test procedure: Use test key to operate testing mechanism. Check lighting units for green battery indicator. Report faults or red battery indicator to EM Helpdesk efhelpdesk@admin.cam.ac.uk, CC to dir21@cam.ac.uk.

| Date | Id | Location | Result | Initials |
| --- | --- | --- | --- | --- |
|  |  | G Outreach office, over door |  | F.G. |
|  |  | G Keyser office |  | F.G. |
|  |  | G Keyser workroom |  | F.G. |
|  |  | G Mezz Keyser store N |  | F.G. |
|  |  | G Mezz Keyser store S |  | F.G. |
|  |  | 1 Babington corridor N end |  | F.G. |
|  | E6B | 1 Babington store |  | F.G. |
|  | E11 | 1 Mezz Mezzanine store N end |  | F.G. |
|  | E9B | 2 East wall of lobby, near stairs to mezzanine |  | F.G. |
|  | E9A | 2 East side of door, inside Bevan Hall N end |  | F.G. |
|  |  | 2 West side of door, inside Bevan Store N end |  | F.G. |
|  | E8 | 2 Mezzanine W end of rack overlooking stairs |  | F.G. |
|  | E15 | 3 East side of door, inside N end of Store 1 |  | F.G. |
|  | E12 | 3 on pillar inside Store 2 |  | F.G. |

|  | E14 | 3 N side of door, inside photographic studio |  | F.G. |
| --- | --- | --- | --- | --- |
|  | E16 | 4 inside door of plant room |  | F.G. |
|  |  | Conservation laboratory landing Mezzanine |  | F.G. |
|  |  | Digital Suite |  | F.G. |
|  |  | Maudsley Gallery lighting by entrance |  | F.G. |
|  |  | Clarke Office |  | F.G. |
|  |  | Andrews Gallery by lift/entrance |  | F.G. |
|  |  | Outside Photographic Studio |  | F.G. |
|  |  | Bevan Workroom door to corridor |  | F.G. |
|  |  | Bevan Workroom entrance to Bevan Store |  | F.G. |