DO31 MAA

Final exit testing: 									(1 page)

To be completed: Monthly

This record sheet details fire escape routes and final exits in the Museum.

Test procedure:

1.⁠ ⁠Exit the building via the specified fire exit and walk to the fire assembly point in front of the McDonald Institute Courtyard Building.

2.⁠ ⁠Note fire hazards and obstructions along the way or at the end. For example:

a. Corridors used for storage

b. Locked doors

Address the issue as identified or, if necessary, report faults to the EM Helpdesk at efhelpdesk@admin.cam.ac.uk, CC to dir21@cam.ac.uk.

| Date | Id | Location | Result | Initials |
| --- | --- | --- | --- | --- |
|  |  | Front entrance |  | F.G. |
|  |  | Back door |  | F.G. |
|  |  | Room 304 trough West Building |  | F.G. |

Note locations and hazards below: